## Slide 1
Vittalkumar Mirajkar
Topic:
Real time failure point detection and operational health monitoring of Cloud Infra

## Slide 2: Cloud Infra
Cloud Infra uptime challenges
The reality of 99.999 availability
Under standing external and internal dependencies
How do we answer “Is it THEM or US”
Visibility into all aspects of infrastructure management
Proposed solution
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra

## Slide 3: Why do cloud infra have outages
Average cloud relies on 137 different services.
  This is 137 failure points.
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
External outage categories | Internal outages categories
Cascading failure of dependencies | Product issues
Outage caused by service providers. | Deployment related failures
Cloud infrastructure failure due to resource starvation | Resource starvation of nodes due to resource consumption due to prolonged running time
Network infrastructure issues | Interdependencies failure
TWO Broader categories of cloud infra failures

## Slide 4: Understanding 99.999% availability
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
Availability Level | Uptime | Downtime per Year | Downtime per Day
1 Nine | 90% | 36.5 days | 2.4 hours
2 Nines | 99% | 3.65 days | 14 minutes
3 Nines | 99.90% | 8.76 hours | 86 seconds
4 Nines | 99.99% | 52.6 minutes | 8.6 seconds
5 Nines | 100.00% | 5.25 minutes | 0.86 seconds
Composite SLA
(System) Uptime != (Service) Availability
Defining Service uptime in multiple dependencies:
Composite SLA = No Of Dependencies * 0.9999 (assuming 99.99% availability)
Average 137 external dependencies.
I use external services which is 99.999 availability, do I need to worry ?
Understanding 99.999% availability

## Slide 5: Composite SLA
(System) Uptime != (Service) Availability
Defining Service uptime in multiple dependencies:
Composite SLA = No Of Dependencies * 0.9999 (assuming 99.99% availability)
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
For example, an app with 5 dependencies, all with four nines of availability, can only offer a 99.95% SLA itself.
Composite SLA = 5* 0.9999 = 0.9995, this is 99.95 % availability.

## Slide 6: Ideal visibility landscape
SPEAKER NAME
TOPIC
What we expect from current infra visibility
Reality of Infra visibility
Multiple tools used in monitoring.
1/3rd issues detected manually.
1/4th SaaS solution provider don’t have full visibility
There are just too many tools to be monitored and any real time correlation needs to be done by the engineer,

## Slide 7: What we address
SPEAKER NAME
TOPIC
During surgical procedure, entire health of patient is monitored before operating on the patient, irrespective of which area is being operated. This is done to maintain stability of the patient.
Musing on similar approach, we propose solution
During upgrade / maintenance window how to ensure there are no unforeseen failures leading to outages
Proactively detect failure of node based on its node health (resource consumption)

## Slide 8: Stability during deployment / upgrade window
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
Maintenance window turning in to Outage window
Before upgrade, is / are the system ready for upgrade
Ideal state is decided based.
Current CPU consummation.
Current Memory usage vs available memory.
Current event in processing queue
Are the upstream dependencies fully functional and nodes in healthy condition
Service Dependency Tree
Deployment Logs
Health Check API’s
Db queries
Cloud Services resources status (Ex: AWS status)
Compute node logs (Ex: EC2 logs)
Queue Health
Harness logs
Jenkins logs
Network connectivity
How do we achieve Infra visibility

## Slide 9: Guidelines for to start upgrade - 1
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
Infra patching or upgrading, ensure
Current state of services running condition.
CPU consumption < 60 %
Memory consumption < 60 % of overall capacity
Network availability < 50 %
Have a clear internal and external dependencies mapped and tracked
When all internal and external dependencies are Operational

## Slide 10
Guidelines for to start upgrade - 2
Internal and external dependencies are Non-Operational (internal dependency is down)
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra

## Slide 11
Guidelines for to start upgrade - 3
Internal and external dependencies are Non-Operational (External dependency is down)
Rule to be followed:
Before upgrade: Shutdown Downstream dependencies 1st
Upgrade
After upgrade: Restart Downstream dependencies.
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra

## Slide 12: Proactive failure detection
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
Software failure
A node could be in running condition, however nonfunctional.
A periodic smoke test running across all critical paths covered helps
Infra Node failure can be detected using
Node Health (using CSP api’s and custom client agent)
Process hung state
CPU and Memory consumption
Network spikes
A service failure could be because of following two issues.

## Slide 13: Custom infra monitoring
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
We have built a custom monitoring setup using:
Using CSP API’s
Customer agents
Network monitoring
Co-relating existing status monitoring tools
Implementation:
QA cloud infrastructures having more than 400+ nodes and running 140+ microservices.
We monitored,
Infrastructure node level resource consumption
140+ micro service functional status

## Slide 14: Results of new monitoring -1
Data parameters were measured across 2 quarters.
Total Outage Incident Count
Post deployment failure
Internal Service dependency related failures
External Dependency failures
Resource starvation related failures
Time taken for debugging service failures (in hrs)
Q1 (Jan – Feb – March) : Before applying NEW monitoring framework.
Q2 (April – May – June) : New monitoring system was implemented.
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
We have recorded:
Functional up time increased from 90% to 95%.
Eliminated resource starvation-based outage by >95%

## Slide 15: Results of new monitoring - 2
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
Over all Incident Count | 42 | 38 | 26 | 14 | 11 | 11
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
Post Deployment Failures | 10 | 11 | 8 | 3 | 2 | 2
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
Internal Service Dependency related failures | 15 | 11 | 4 | 5 | 4 | 4
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
External Dependency failures | 10 | 9 | 8 | 5 | 4 | 4
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
Resource Startvation related failures | 7 | 7 | 6 | 1 | 1 | 1
Chart: 
| 44927 | 44958 | 44986 | 45017 | 45047 | 45078
Time taken for debugging service failures (in hrs) | 2 | 2 | 3 | 0.5 | 0.5 | 0.5

## Slide 16: Take aways
Vittalkumar Mirajkar
Failure detection & health monitoring of Cloud Infra
There is no one tool for monitoring everything.
Correlation between tools need to be automated.
Service status visibility is a must
service dependencies should be mapped.
Proactive hardware infra monitoring will help identify nodes which are leading towards failures,
You will not be able to avoid all failures.
During service failures quickly isolating the root cause is equally important.
Periodic smoke tests on production environments helps us proactively check functional working of all the services.

## Slide 17
THANK YOU
Vittalkumar Mirajkar
Topic:
Real time failure point detection and operational health monitoring of Cloud Infra